COLD CHAIN MANAGEMENT SYSTEM PROJECT 
COMPONENTS LIST

| Component | Specification | Quantity | Approx. Price |
| --- | --- | --- | --- |
| ESP32 DevKit V1 | Main controller + expansion node | 2 | ₹300–500 each |
| DS18B20 Water Proof Probe | −55°C to +125°C, digital temperature sensor | 2 | ₹60–120 |
| SHT31 | Humidity + secondary temperature | 1 | ₹180–300 |
| DS3231 RTC | Timestamping | 1 | ₹100–250 |
| OLED SSD1306 / LCD | 0.96″ OLED / 16×2 LCD | 1 | ₹160–300 |
| Magnetic Door Sensor | Reed switch | 1-2 | ₹30–50 |
| Micro-SD Module + Card | Local data logging | 1 | ₹200–300 |
| 16/32 GB microSD Class 10 | Data storage | 1 | ₹200–500 |
| ACS 712 30A Current Sensor Module | Current Monitoring | 1 | ₹70–100 |
| DHT22 | Temperature + humidity, ±2% RH | 1 | ₹200–250 |
| INA219 I2C Bi-Directional Current & Power Monitoring Module | Current and Voltage Sensor Module | 1 | ₹100–150 |
| SIM800L | GSM/GPRS communication | 1 | ₹350–500 |
| NEO-6M GPS | GPS/GNSS receiver | 1 | ₹250–450 |
| Buzzer | Local alarm | 1 | ₹20–50 |
| LEDs | Normal/Warning/Critical | 2 R 2 G 2 B | ₹10–30 |
| Breadboard | Prototype | 1-2 | ₹100–200 |
| Jumper wires | Connections | As required | ₹100–200 |
| 4.7 kΩ resistors | DS18B20 pull-up | 1 pack | ₹10–20 |
| Insulated Vaccine Carrier | ~2–3 L, PUF insulation, ice packs | 1 | ₹1,600–2,600 |
| Vibration Sensor | SW-420 / accelerometer | 2 | ₹50–100 |
| LDR | Light detection | 2 | ₹20–30 |
| Li-ion Battery | 3.7 V, ~5000 mAh | 1 | ₹400–500 |
| TP4056 | Li-ion charging/protection | 1 | ₹20–60 |
| Enclosure + PCB + Wiring | Protective electronics housing | 1 | ₹400–600 |